| The Plug |  | Y/N | Action |
| --- | --- | --- | --- |
| 1 | Is the plug cracked or broken? |  |  |
| 2 | Are any of the pins loose? |  |  |
| 3 | Are any of the pins bent or twisted? |  |  |
| 4 | Are any of the pins missing? |  |  |
| 5 | Are there any signs of overheating, e.g. charring around the live or neutral pins? |  |  |
| 6 | Are the terminal screws tight? |  |  |
| The Cable |  | Y/N | Action |
| 7 | Are there any cuts or abrasions in the cable covering (apart from light scuffing)? |  |  |
| 8 | Is the cable free from contaminating materials that could degrade the protective coating? |  |  |
| 9 | Is the cable grip properly tightened where the cable enters the plug? (If it isn’t, the coloured insulation of the internal wires will show.) |  |  |
| Mobility / Stability |  | Y/N | Action |
| 10 | Can the equipment stand securely on the ground (doesn’t fall over)? |  |  |
| 11 | Is the method of carrying intact? (Handle.) |  |  |
| 12 | If wheels are fitted are they free moving? |  |  |
| Equipment Casing |  | Y/N | Action |
| 13 | Are any screws loose? |  |  |
| 14 | Is there any damage to the outer casing, i.e. cracks? |  |  |
| 15 | Is there any evidence of burn marks? |  |  |
| Portable Appliance Testing |  | Y/N | Action |
| 16 | Is there a valid PAT test label on equipment? |  |  |
| Residual Current Devices (RCD) If applicable |  | Y/N | Action |
| 17 | Is the case intact? |  |  |
| 18 | Has the “test” button been checked to ensure that it is working correctly? |  |  |

Name: ………………………………   Sign: ………………………… Date: ……………………